## Consumables
Lot 2 - Consumables Annex II-B - RFP22-3453
NO | ITEM DESCRIPTIONS | Relevant details e.g how many in 1 pckt | Estimated QTY | Waranty duration (if applicable) | Installation description (if applicable) | Training description (if applicable) | Maintenance description (if applicable)
Genetics laboratory - Consummable
71 | Tubes for centrifuge, conical tubes, 50mL | 500/cs | 3
72 | AxyPrep MAG Tissue - Blood gDNA Kit, Large |  | 15
73 | IMAG universal magnetic hand-held device for PCR and 96 well plates |  | 15
74 | AxyPrep MAG PCR Clean-Up Kit, 250 mL |  | 15
75 | Tips 20µL, filter, steril, non pyrogenic, great recovery, in rack | 96/rack, 4800/cs | 2
76 | Tips 200µL, filter, steril, non pyrogenic, great recovery, in rack | 96/rack, 4800/cs | 2
77 | Tips 1000µL, filter, steril, non pyrogenic, great recovery, in rack | 96/rack, 4800/cs | 2
78 | 1.5 mL Snaplock Microcentrifuge Tube, Polypropylene, Clear, Sterile, 50/Bag. 5 Bags/Pack, 10 Packs/Case | 2500/cs | 3
79 | 0.2 mL Polypropylene PCR Tube Strips and Domed Cap Strips, 8 Tubes/Strip, 8 Domed Caps/Strip, Clear, Nonsterile | 1250/cs | 2
80 | Axygen® 96-well Polypropylene Flat Top PCR Microplate, Low Profile, No Skirt, Clear, Nonsterile | 100/cs | 5
81 | PCR 35 µm Aluminum Sealing Film For Thermal Sealing and General Sealing Purposes, Nonsterile | 500/cs | 2
82 | Labpure S2 Purification Cartridge - SDI Feed |  | 2
83 | 0.05 Micron ultra-microfilter (UMF) |  | 2
84 | Labwater Disinfection Tablets | 12/pk | 1
85 | PCR reactives: PCR master mix 2000 reactions |  | 5
86 | PCR reactives: 1kb DNA ladder 100 lane |  | 5
87 | PCR reactives: 100bp ladder 100 lane |  | 5
88 | PCR reactives: 50bp ladder 100 lane |  | 5
89 | PCR reactives: dNTP set and mix | 4x1mL/pk | 5
90 | Test tube rack, PP |  | 10
91 | Microtube racks, autoclavable for 1,5mL and 2 mL, assorted colours | 5/pk | 5
92 | Calibration solution pHmeter, Ph Buffer 4.0, 250mL | 250mL | 10
93 | Calibration solution pHmeter, pH buffer 7.0, 250mL | 250mL | 10
94 | Calibration solution pHmeter, pH buffer 10.0, 250mL | 250mL | 10
95 | KCL electrolyte solutions, Type L 2114, 2 mol/l KNO3 + 0.001 mol/l KCI for Ag-probes, 250 ml | 250mL | 5
96 | AGAROSE, Electrophresis grade 250g | 250g | 3
97 | ABsolute™ qPCR SYBR® Green Fluorescein Mix, 1600 x 25 µl | 1600 x 25 µl | 4
98 | Qubit dsDNA HS Assay Kit 500 samples |  | 4
99 | Erlenmeyer flask, 1000mL borosilicate |  | 10
100 | Erlenmeyer flask, 250mL borosilicate |  | 10
101 | Flask, 250ml borosilicate |  | 10
102 | Weighing boats, antistatic, PS, 5mL capacity, 55x35x6mm | 1000/pk | 10
103 | Weighing boats, antistatic, PS, 100ml capacity, 125x100x19mm | 250/pk | 10
104 | Disposable biopsy punch 3mm with plunger system, 20/box | 20/pk | 50
Histology and otoliths laboratory - Consummable
105 | Plastic moulds for paraffin embedding of histological specimens, 37 x 24 x 7 mm | 500/pk | 1
106 | Plastic moulds for paraffin embedding of histological specimens, 15 x 15 x 7 mm | 500/pk | 1
107 | Disposable cassettes for processing and embedding tissue samples | 1000/pk | 1
108 | Disposable embedding cassettes for biopsies | 1000/pk | 1
109 | Disposable blades for sliding and rotary microtomes | 50/pk | 2
110 | Blade for specimen trimming in Anatomic Pathology | 50/pk | 6
111 | Cover glasses for microscopy, 22x22x0.13mm | 200/box | 2
112 | Microscope Slide 76x26x1mm with cut edges | 50/box | 2
113 | Microscope slide folder with cover, for 76x26mm slides | LLG-Labware | 10
114 | EpoFix epoxy resin | 1L bottle | 1
115 | EpoFix epoxy hardener | 500mL bottle | 1
116 | Crystalbond 509 (Clear Color) mounting Adhesive | Crystalbond 509, 90 g sticks | 1
117 | Embedding media - 250 ml flask | 250mL | 1
118 | Microscope slides tray without lid for 20 slides |  | 2
119 | Paraffin Lab-O-Wax 56°-58°C | 20kg | 10
120 | Soda-lime glass stirring rod |  | 2
121 | Diamond tip marker |  | 1
122 | Lab Marker fine tip black colour |  | 10
123 | Albumin bovine serum, for biochemistry, additional reagent for IGSS, protease free, 1100g | 100g | 1
124 | Paraffin Cleaner for clinical diagnosis |  | 1
125 | Xylene for cytology and histology | 4 x 2.5L | 1
126 | Hématoxyline solution according to Mayer RS for histology, 1L | 1L | 1
127 | Eosine Y 1% solution acquereous RS for histology, 1L | 1L | 1
128 | Forceps, blunt, stright, 115 mm |  | 5
129 | Forceps, blunt, stright, 145 mm |  | 5
130 | Forceps, blunt, stright, 250 mm |  | 1
Shared laboratory - Consummable
131 | Ethanol 96° RE - Pure, 20L | 20L | 1
132 | Gants nitrile S | 200/box | 5
133 | Gants nitrile M | 200/box | 5
134 | Gants nitrile L | 200/box | 5
135 | Gants nitrile XL | 200/box | 5
136 | Polypropylene Microtubes with Snap Cap, 1.5mL | 1000/pk | 1
137 | CTXL cable tie 300mm with 5 waterproof tear off labels |  | 1000
138 | CTA cable tie 200mm tag with 3 waterproof tear off labels |  | 1000
139 | Plastic bags, 40x60mm |  | 100
140 | Plastic bags, 100x150mm |  | 100
141 | Plastic bags, 200x300mm |  | 100
142 | Microtube Storage Box, assorted (Blue, Green, Orange, Purple, Yellow) | 5/pk | 1
143 | Wash bottle | Nalgene™, 500mL | 3
144 | Formaldehyde 37% W/V RPE for analysis, 2.5L | 2.5L | 2
145 | Safety glasses B-Line BL13 |  | 2
146 | Latex Gloves S | 100/pk | 3
147 | Latex Gloves M | 100/pk | 3
148 | Latex Gloves L | 100/pk | 3
149 | Latex Gloves XL | 100/pk | 3
150 | Stainless Steel Scalpel Handles, n°3 |  | 5
151 | Carbon Steel Sterile Scalpel Blades, n°10, 100/box | 100/box | 5
152 | Stainless Steel Surgical Handles, n°4 | 100/box | 1
153 | Carbon Steel Sterile Scalpel Blades, n°22 | 100/box | 5
154 | Dissecting tray |  | 5
155 | Small lab coat |  | 1
156 | Medium lab coat |  | 1
157 | Large lab coat |  | 1
158 | X-Large lab coat |  | 1