## DEFINITION SCHEDULE
TERM | DEFINITION
"Project" | SPC PROPOSED EXTENSION TO EXISTING BUILDING-CRYO LAB
Description of Project | PROPOSED EXTENSION TO EXISTING BUILDING-CRYO LAB
"Site" | FNTC ROAD 2, NASINU.
“Employer, Client, Principal, and Owner” | PACIFIC COMMUNITY
“Project Manager” | DESIGN HUT
“Architect” | DESIGN HUT
“Structural Engineer | --
"Services Engineer" | EDISON CONSULTANTS LIMITED
"Services Project Engineer" | Nishal Prasad Mobile: +679 9990745 Email: nishal.prasad@edisonconsultants.com
“Electrical Utility Company" | ENERGY FIJI LIMITED
“Telecom Utility Company" | TELECOM FIJI LIMITED
“Water Utility Company" | WATER AUTHORITY OF FIJI

## PRICE SCHEDULE
TENDER PRICE SCHEDULE
1 | Supply of all split type wall mounted units and its outdoor units.
2 | Installation of all split type wall mounted and units with outdoor units with all associated refrigerant and condensate pipework, condensate drain tray (unit serving the main switch room), angle iron brackets, vibration isolator, hangers,hardwired thermostat, electrical works to the power isolator and associated accesories.
3 | Supply of Concealed ducted unit along with duct work, grilles and diffusers
4 | Installation of Concealed ducted unit outdoor units with all associated refrigerant and condensate pipework, , angle iron brackets, vibration isolator ,hardwired thermostat, electrical works to the power isolator and associated accesories.
5 | Supply of all oxygen sensors
6 | Installation of all oxygen sensors and associated connections to the required system
7 | Supply of all 12 hour autochange over panel for units serving the Labs, Storage & Liquid Nitrogen Room
8 | Installation of all 12 hour autochange over panel for units serving the Labs, Storage & Liquid Nitrogen Room , interlocking and control wiring with wall mounted units for server and complete with associated accesories.
9 | Supply of all split type cassette type units and outdoor units.
10 | Installation of all split type ceiling cassette and outdoor units with all associated refrigerant and condensate pipework, , angle iron brackets, vibration isolator, hangers,hardwired thermostat, electrical works to the power isolator and associated accesories.
11 | Supply of all duct mounted supply diffusers
12 | Supply of all exhaust grilles
13 | Installation of all duct mounted supply diffusers and exhaust grilles complete with associated accessories.
14 | Supply of outdoor air louver c/w vermin proof screen .
15 | Installation of all outdoor air louver c/w vermin proof screen and complete with associated accessories.
16 | Supply of exhaust and supply fan that will be interlocked with the oxygen sensor
17 | Installation of exhaust and supply fans that will be interlocked with the oxygen sensor c/w associated accesories.
18 | Supply of all G4 air filter.
19 | Installation of all G4 air filter and c/w associated accesories.
20 | Supply of Hepa and ULPA Filters
21 | Installation of Hepa and ULPA Filters c/w associated accesories.
22 | Supply of all volume control dampers and fire dampers and complete with associated accesories.
23 | Installation of all volume control and fire damper and complete with associated accesories.
24 | Supply of all rigid ducts, flexible duct, fittings,duct insulation, hangers and supports, flexible connectors, access doors, controls and accessories.
25 | Installation of all rigid ducts, fittings,duct insulation, hangers and supports, flexible connectors, access doors, controls and accessories.
26 | Installation of roof flashing by builder and cost to be included by the mechanical contractor.
27 | Wall penetration , duct penetration and roof penetration by builder shall do flashing and sealing of penetration and cost to be included by the mechanical contractor.
28 | All associated builder’s works.
29 | All associated electrical works.
30 | All associated plumbing works.
31 | Testing and Commissioning.
32 | Provisions of Shop Drawings
33 | Maintenance (Defects Liability) for 12 months
34 | As Built manuals & drawings
35 | Any other items not covered in above, Breakdown Below
36
37
38
39
40
SUB TOTAL (VEP)
VAT
TOTAL (FJD) MECHANICAL SERVICES (VIP)
Tenderer Name : ____________________________
Tenderer Signature & Date : ___________________________

## EQUIPMENT SCHEDULE
REF | DESCRIPTION | SUPPLIER | MAKE | MODEL | QTY | SPECIFICATIONS | DATASHEET ATTACHED (Y/N) | COMMENTS
SPLIT TYPE AIR CONDITIONING SYSTEM
example: IDU-G.1 | CEILING CASSETTE | DAIKIN NZ | DAIKIN | FCA85CVMA | 1 | refer data sheet | Y | Use this as an example and fill in below as required
100
101
102
103
104
AIR DISTRIBUTION DEVICES
example: DG1 | EXHAUST GRILLES | Holyoake | Holyoake, NZ | DG-52 | 1 | refer data sheet | Y | Use this as an example and fill in below as required
2000
2001
2002
2003
2004
2005
2006
FANS
example: EF-G.1 | DUCT MOUNTED EXHAUST FAN | Fantech | Fantech , Australia | VCW204 | 1 | refer data sheet | Y | Use this as an example and fill in below as required
3000
3001
3002
3003
3004
3005
3006
AIR FILTER
example: AF-1.1 | HEPA FILTER | AIRE PURE, AUSTRALIA | AIRE PURE, AUSTRALIA | G4 | 1 | refer data sheet | Y | Use this as an example and fill in below as required
4000
4001
4002
4003
4004
4005
4006
4007
** add other items here or revise to suit **
Tenderer Name : ____________________________
Tenderer Signiture & Date : ___________________________

## COMPLIANCE SCHEDULE
REF | DESCRIPTION | COMPLY YES/NO | COMMENTS
1 | Technical Compliance - All submitted equipment's and items comply with the specifications and engineering drawings
2 | Submission Compliance - All required submissions have been submitted and submissions checklist filled as per specifications
3 | Valid insurance (Public Liability)
4 | Tax Compliance
5 | FNPF Compliance
Tenderer Name : ____________________________
Tenderer Signature & Date : ___________________________